Set of requests

70002716 – Bio

70002717 – Coag

70002718 – MSU

70002719 – Ulcer swab

70002720 – Ace send out

Bio – in NA no automated comments showing

Bio – in OCM no flags

Bio – Autocomments in OCM wrong see below

Micro - 2 sample only the first placed the site and site details 70002718 placed 70002719 not placed

For this order Bio signed coag not signed this removed everything from the not signed dashboard

Micro – report is very poor (all are badly aligned)

In ward enquiry cumulative coag or microbiology not returning anything wheel just spins

