|  |  |  |  |
| --- | --- | --- | --- |
| 64f9d5f528d9f | 11. No section for entering DAT reagents and controls | Fail | Enter results but cannot view previous results in QC View |

